## Slide 1: Chapter 8: Error, Failures, and Risks
BY: Laura Wilson

## Slide 2: Background
Between 1985 and 1987, Therac-25 machines, a software-controlled radiation-therapy machine used to treat people with cancer, at four medical centers gave massive overdoses of radiation to six patients. In some cases, the operator repeated an overdose because the machine’s display indicated that it had given no dose. Medical personnel later estimated that some patients received more than 100 times the intended dose. These incidents caused severe and painful injuries and the deaths of three patients.
The factors that contributed to the incident were lapses in good safety design, insufficient testing, bugs in the software that controlled the machines, and an inadequate system of reporting and investigating the accidents.
.

## Slide 3: Case study (Kennestone Regional Oncology Center)
A 61-year old woman was receiving follow-up radiation treatment to nearby lymph nodes on a Therac-25 at a facility. One day the patient was set up for 10 MeV electron treatment. When the machine turned on she felt a tremendous force of heat like a red-hot sensation. The woman told the technician she had been burned but the technician denies this.
After going home the patient started to experience pain and swelling where the treatment was. There was no clinical explanation for her redness as her oncologist contributed it to her disease or a normal treatment reaction. Two weeks later the physicist at this facility noted that this patient began to experience radiation but but there was no explanation for this from the hospital or her doctors.
Eventually her breast had to be removed due to the radiation burns and still being in constant pain but the manufacturer and operators of Therac-25 didn’t believe their machine could do this. There was eventually a lawsuit that was settled out of court.

## Slide 4: Chapter relevancy
In chapter 8, is about failures in computer systems which is often a combination of human and system error.
Failure and errors in computer systems
Institutional causes of large project failures
Planning and management and testing problems
The Therac-25 incident causes are still present in today’s systems. Years after the Therac-25 incident, medical physicists operating a different radiation-treatment machine in Panama tried to circumvent a limitation in the software in an attempt to provide more shielding for patients. Their actions caused dosage miscalculations; 28 patients received overdoses of radiation, and many died. It seems that dramatic lessons need repetition with each new generation. Studies of the Therac-25 incidents showed that many factors contributed to the injuries and deaths.

## Slide 5: Implications
Positive:
The patient could just be sensitive
Certain treatments could just be that way for every patient
The operator knew it was impossible for the machine to burn someone
Negative:
Manufacturers, operators and doctors denied the machine doing this
Patient was severely hurt even having extra surgery for the burns.
Bad look for the facility and manufacturers
No one could find the cause of patients burns or injuries until too late.

## Slide 6: Stakeholders
Patients
patient families
company/manufacture of the machine
  Atomic Energy of Canada, Ltd. (AECL),
Canadian government corporation, manufactured the Therac-25
hospital/facilities using product
doctors/nurse/operator involved
Future patients/doctors/customers of company

## Slide 7: My observation
I am on the CONS side because not only is the patient not taken seriously basically medically gaslight by the operator and doctors involved in the facility. The hospital let this patient suffer without any treatment or consideration for why this was happening. This incident was never investigated or reported and no admission of the burns being caused by the Therac-25 until way later Her oncologist kept referring her to the facility for these Therac-25 treatments even when she was admitted to another hospital.

## Slide 8: Should medical equipment be operated solely by software without any human interaction/assistance?